## BoQ
N° | DESCRIPTION | UNIT | QTY. | UNIT PRICE (A) | UNIT PRICE (B) | AMOUNT
CIVIL WORKS
1 | Preparation of the site and Contractor Mobilization
1.1.1 | Site Mobilization, Office and Warehouses | L.S. | 1
1.1.2 | Site Staff Sanitary Facilities | L.S. | 1
1.1.3 | Security Measures | L.S. | 1
1.1.4 | Temporary Fencing & Sign Board | m | 605
1.1.5 | Generator for Building-site | L.S. | 1
1.1.6 | Temporary water tank for construction site | L.S. | 1
1.1.7 | Temporary Lighting System | L.S. | 1
1.1.8 | Temporary Power Distribution System | L.S. | 1
1.1.9 | Site safety and fire‑fighting equipment | L.S. | 1
Sub Total
2 | Demolition Works
2.1 | Demolition Works
2.1.1 | Demolition of Brick Walls | m3 | 1460.8
2.1.2 | Demolition of Existing Screeds | m3 | 1076.65
2.1.3 | Demolition of Damaged Stone Facade Tiles | m2 | 100
2.1.4 | Removal of existing Metal Doors | m2 | 100
2.1.5 | Removal of Window Metal Grilles | m2 | 1417.4
2.1.6 | Removal of existing El material | P.S. | 1
2.1.7 | Removal of existing Air Duct | P.S. | 1
2.1.8 | Removal of existing AHU System | P.S. | 1
2.1.9 | Removal of existing Boilers and Plumb. System | P.S. | 1
Sub Total
3 | Horizontal Concrete Works
3.1.1 | HI-BOND Slab | m2 | 307.71
Sub Total
4 | Waterproof Roof Layer, Gutter, Downspout
4.1.1 | Walkable Roof Insulation & Waterproofing System | m2 | 4665
4.1.2 | External Rainwater Downspouts | m | 240
Sub Total
5 | Block works and Partition Wall
5.1.1 | 120mm Standard Drywall Partition | m2 | 1985.38
5.1.2 | 120mm Fire-rated Drywall Partition - REI 60 | m2 | 241.5
5.1.3 | 30mm Fire-Resistant Plasterboard Cladding EI 60 | m2 | 1794
5.1.4 | 120m Lead-Lined Drywall Partition For Radiology Rooms (Xray/CT Scan) | m2 | 197.6
5.1.5 | 150mm Hollow Concrete Blocks (HCB) Wall | m2 | 9838.3
Sub Total
6 | Doors and Windows
6.1 | Internal Doors
6.1.1 | Door Type 1 (70x210 cm) | Pcs | 48
6.1.2 | Door Type 2 (80x210 cm) | Pcs | 121
6.1.3 | Door Type 3 (90x210 cm) | Pcs | 167
6.1.4 | Door Type 4 (70+70 x 210 cm) - int | Pcs | 3
6.1.5 | Door Type 5 (80+40 x 210 cm) - int | Pcs | 99
6.1.6 | Door Type 6 (80+80 x 210 cm) - int | Pcs | 50
6.1.7 | Door Type 7 (80+80 x 270 cm) - int | Pcs | 1
6.1.8 | Door Type 8 (90+90 x 210 cm) - int | Pcs | 11
6.1.9 | Door Type 9 (60+60 x 210 cm) - ext | Pcs | 6
6.1.10 | Door Type 10 (70+70 x 210 cm) - ext | Pcs | 5
6.1.11 | Door Type 11 (90+90 x 210 cm) - ext | Pcs | 4
6.1.12 | Door Type 12 - sliding - (90 x 210 cm) | Pcs | 10
6.2 | OTs Double-Leaf Lead-Lined Manual Doors
6.2.1 | OT Door Type 1 | Pcs | 4
6.3 | Certified Metal Fire Doors (REI 60 / EI 60)
6.3.1 | Door Type 1 (80+40 x 210 cm) - int | Pcs | 30
6.4 | Aluminium Doors and Windows
6.4.1 | Window Type 1 - single leaf - 100x100 (sill 175) | Pcs | 2
6.4.2 | Window Type 2 - single leaf - 100x155 (sill 120) | Pcs | 23
6.4.3 | Window Type 3 - single leaf - 120x155 (sill 120) | Pcs | 4
6.4.4 | Window Type 4 - double leaf - 130x155 (sill 120) | Pcs | 2
6.4.5 | Window Type 5 - double leaf - 155x100 (sill 175) | Pcs | 36
6.4.6 | Window Type 6 - double leaf - 155x155 (sill 120) | Pcs | 325
6.4.7 | Window Type 7 - triple leaf - 300x155 (sill 120) | Pcs | 1
6.4.8 | Window Type 8 - french door - 155x270 | Pcs | 1
6.4.9 | Window Type 9 - 40x240 | Pcs | 34
6.4.10 | Door Type 10 - 105x240 | Pcs | 32
6.4.11 | Window Type 11 - 110x60 | Pcs | 3
6.4.12 | Door Type 12 - 150x270 | Pcs | 2
6.4.13 | Window Type 13 - 155x60 | Pcs | 2
6.4.14 | Window Type 14 - 40x60 - - L-1 | Pcs | 16
6.4.15 | Window Type 15 - 105x60 - - L-1 | Pcs | 17
6.4.16 | Window Type 16 - 100x60 - L-1 | Pcs | 6
6.4.17 | Window Type 17 - 155x60 - L-1 | Pcs | 114
6.4.18 | Window Type 18 - 260x60 - L-1 | Pcs | 1
6.4.15 | Window Type 19 - 40X120 - corte | Pcs | 1
6.4.16 | Window Type 20 - 80x120 - corte | Pcs | 2
6.4.17 | Window Type 21 - 115x120 - corte | Pcs | 1
6.4.18 | Window Type 22 - 155x120 - corte | Pcs | 20
6.4.19 | Window Type 23 - 60x40 | Pcs | 2
6.4.20 | Window Type 24 - 100x40 | Pcs | 12
6.4.21 | Window Type 25 - 155x40 | Pcs | 322
6.4.22 | Window Type 26 - 170x40 | Pcs | 1
6.4.23 | Window Type 27 - Internal windows | m2 | 44.6
6.4.24 | Door Type 1 (90x210 cm) | Pcs | 7
6.4.25 | Door Type 2 (80+40 x 210 cm) | Pcs | 6
6.4.26 | Door Type 3 (80+80 x 270 cm) | Pcs | 1
6.4.27 | Door Type 4 (80+80 x 210 cm) | Pcs | 13
6.4.28 | Door Type 5 (120 x 210 cm) | Pcs | 4
6.4.29 | Door Type 6 (140 x 210 cm) | Pcs | 7
6.4.30 | Door Type 7 (180 x 210 cm) | Pcs | 1
6.4.31 | Door Type 8 - single-leaf glazed door | m2 | 33.1
6.4.32 | Door Type 9 - double-leaf glazed door | m2 | 85.7
Sub Total
7 | Plastering and Pointing
7.1 | Plaster. Base and fine Coat Plastering for new bricks Walls
7.1.1 | Ditto To internal wall surface. | m2 | 24219.09
7.1.2 | Ditto To external wall surface. | m2 | 246.2
Sub Total
8 | Floor and Wall Finishing
8.1 | Cement Screed
8.1.1 | Installation of new Cement Screed | m2 | 19646.76
8.2 | Tiles and other Finishing
8.2.1 | Special Technical Stoneware Flooring (OTs) | m2 | 195.64
8.2.2 | Special Technical Stoneware Hygienic Coved Skirting (OTs) | m | 112.28
8.2.3 | Full-Height Technical Stoneware Wall Tiles (OTs) | m2 | 282.18
8.2.4 | Ceramic Floor Tiles | m2 | 14699.37
8.2.5 | Ceramic Wall Tiles | m2 | 2325.74
8.2.6 | Linoleum Floor (only in physioterapy) | m2 | 86.76
8.3 | External Walls
8.3.1 | Precast Concrete Coping for Masonry Wall | m | 500
Sub Total
9 | Painting Works
9.1.1 | Standard Washable Acrylic Paint for General Areas | m2 | 19829.64
9.1.2 | Special Antibacterical Epoxy/Polyurethane Coating | m2 | 195.64
9.1.3 | External Waterproof Paint (Quartz or Siloxane) | m2 | 5599.62
Sub Total
10 | Ceiling
10.1.1 | Suspended Lay-in Mineral Fiber Ceiling (60x60) | m2 | 7593.054
10.1.2 | Monolithic Suspended Gypsum Board ceiling | m2 | 3254.166
Sub Total
11 | Green and External Areas Works
11.1.1 | Restoration, clearing and weeding of Existing Garden Areas | m2 | 6500
11.1.2 | Renovation of existing external paving | m2 | 2500
11.1.3 | Asphalt Roads Repairing | m2 | 1000
Sub Total
12 | Metal Works
12.1.1 | Metal Ramp | P.S. | 2
Sub Total
13
13.1.1 | Internal Floor Structural Movement Joint | m | 600
13.1.2 | External Floor Structural Movement Joint | m | 100
13.1.3 | Internal Wall and Ceiling Structural Movement Joint | m | 700
13.1.4 | External Facade Structural Movement Joint | m | 150
13.1.5 | Watertight Structural Movement Joint for Terraces | m | 100
Sub Total
GRAND TOTAL
CIVIL WORKS Alternative Works Prices
2 | Demolition Works
2.1.10 | Demolition and removal of Existing Finishing Floor Surface (Porcelane/Granite Tiles or Marble Tiles) | m2 | 1
2.1.11 | Demolition and removal of Existing Finishing Floor Surface (Linoleum) | m2 | 1
5 | Block works and Partition Wall
5.1.6 | Extra Over: Moisture-Resistant Upgrades | m2 | 1
5.1.7 | 50mm Rock Wool Acoustic Insulation | m2 | 1
6 | Doors and Windows
6.5 | PVC Doors and Windows
6.5.1 | Window Type 1 - single leaf - 100x100 (sill 175) | Pcs | 2
6.5.2 | Window Type 2 - single leaf - 100x155 (sill 120) | Pcs | 23
6.5.3 | Window Type 3 - single leaf - 120x155 (sill 120) | Pcs | 4
6.5.4 | Window Type 4 - double leaf - 130x155 (sill 120) | Pcs | 2
6.5.5 | Window Type 5 - double leaf - 155x100 (sill 175) | Pcs | 36
6.5.6 | Window Type 6 - double leaf - 155x155 (sill 120) | Pcs | 325
6.5.7 | Window Type 7 - triple leaf - 300x155 (sill 120) | Pcs | 1
6.5.8 | Window Type 8 - french door - 155x270 | Pcs | 1
6.5.9 | Window Type 9 - 40x240 | Pcs | 34
6.5.10 | Door Type 10 - 105x240 | Pcs | 32
6.5.11 | Window Type 11 - 110x60 | Pcs | 3
6.5.12 | Door Type 12 - 150x270 | Pcs | 2
6.5.13 | Window Type 13 - 155x60 | Pcs | 2
6.5.14 | Window Type 14 - 40x60 - L-1 | Pcs | 16
6.5.15 | Window Type 15 - 105x60 - L-1 | Pcs | 17
6.5.16 | Window Type 16 - 100x60 - L-1 | Pcs | 6
6.5.17 | Window Type 17 - 155x60 - L-1 | Pcs | 114
6.5.18 | Window Type 18 - 260x60 - L-1 | Pcs | 1
6.5.15 | Window Type 1940X120 | Pcs | 1
6.5.16 | Window Type 2080x120 | Pcs | 2
6.5.17 | Window Type 21115x120 | Pcs | 1
6.5.18 | Window Type 22155x120 | Pcs | 20
7 | Plastering and Pointing
7.1.3 | Repair and Skimmed of Existing Damaged Plaster | m2 | 1
8 | Floor and Wall Finishing
8.1 | Cement Screed
8.1.2 | Renovation (Patching) of new Cement Screed | m2 | 1
8.2 | Tiles and other Finishing
8.2.7 | Conductive/Anti-static Self-Leveling Epoxy Floor | m2 | 1
8.2.8 | Seamless Epoxy Hygienic Coved Skirting | m2 | 1
8.2.9 | UPVC Wall Cladding | m2 | 1
8.2.10 | Renovation (Patching) of new Cement Screed | m2 | 1
8.2.11 | Cement Screed non Slipery (External Walkways) | m2 | 1
8.2.12 | Renovation of the marble tiles | m2 | 1
12 | Metal Works
12.1.2 | Metal Grills Renovation | m2 | 1